## Blad1
Schaal |  |  |  | TRL Klasse | TRL
c | centraal |  |  | 1 | 1,2,3
d | decentraal |  |  | 2 | 4,5,6
c/d | centraal en decentraal mogelijk |  |  | 3 | 7,8,9
Nummer | Schaal | TRL klasse | inzamelen | transport | zuivering | (her)gebruik | categorie (1) | categorie (2) | categorie (3) | gericht op (1) | gericht op (2) | gericht op (3) | titel | link | Omschrijving
1 | c/d | 3 |  |  | x |  | Optimalisatie |  |  | Monitoren | Kosten |  | Prefab EcoBlue filter: korte bouwtijd, lagere kosten | https://www.h2owaternetwerk.nl/h2o-techniek/prefab-ecoblue-filter-korte-bouwtijd-lagere-kosten | Brightwork en Fabiton introduceren met hun EcoBlue een installatie voor continue zandfiltratie ten behoeve van waterzuivering. De afgelopen jaren is de markt voor dit soort installaties gegroeid. Brightwork en Fabiton willen met het EcoBlue filter een deel van deze markt bedienen.
2 | c/d | 2 |  | x |  |  | Optimalisatie | Besparen |  | Water | Kosten |  | Inulineproduct blijkt probaat middel tegen scaling | https://www.h2owaternetwerk.nl/h2o-techniek/inuline-blijkt-probaat-middel-tegen-scaling | Waterzuivering Milieuboulevard Groningen heeft een oplossing gevonden om agressieve scaling in de zuiveringsinstallatie van de stortplaats Stainkoeln aan te pakken. Carboxymethylinuline, een stof die door Cosun Biobased Products wordt gemaakt van inuline, blijkt een probaat middel. De aanpak heeft zich gedurende langere tijd bewezen.
3 | d | 3 | x |  |  |  | Optimalisatie | Besparen |  | Water |  |  | Coating zorgt voor waterbesparing op toilet | https://www.h2owaternetwerk.nl/h2o-techniek/coating-zorgt-voor-waterbesparing-op-toilet | Hoe gladder een oppervlak, hoe minder vervuiling er aan blijft plakken en hoe minder water er nodig is voor het reinigen. Dit inzicht was de leidraad van onderzoekers van de Amerikaanse Penn State University bij het ontwikkelen van een coating voor toiletten. Deze is zo glad, dat er de helft minder water nodig is om de toiletpotten te spoelen.
4 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | SusPhos ontwikkelt nieuwe techniek voor winnen fosfaat uit afval | https://www.h2owaternetwerk.nl/h2o-techniek/susphos-ontwikkelt-nieuwe-techniek-voor-winnen-fosfaat-uit-afval | SusPhos is een Nederlandse start-up, die een nieuwe methode ontwikkelt om fosfaat en andere stoffen te winnen uit afvalstromen van waterzuiveringsinstallaties en de industrie. De bedoeling is dat de teruggewonnen stoffen worden gebruikt in producten zoals kunstmest en vlamvertragers.
5 | c/d | 3 |  |  | x |  | Optimalisatie |  | Winnen | Energie |  |  | MICROrganic wekt stroom op met afvalwaterzuivering | https://www.h2owaternetwerk.nl/h2o-techniek/microrganic-wekt-stroom-op-met-afvalwaterzuivering | Micro-organismen in biologische waterzuiveringsinstallaties kunnen gebruikt worden om elektriciteit op te wekken. In de Verenigde Staten draait bij een bierbrouwerij de eerste awzi die tevens stroom opwekt. De technologie is ontwikkeld door het Amerikaanse bedrijf MICROrganic. Het bedrijf omschrijft de installatie als een 'microbial fuel cell' ofwel MCF. De merknaam is VIVA.
6 | c | 2 |  |  |  | x | Optimalisatie |  |  | Acceptatie |  |  | BlueRoof test voedingsbodem van rioolafval op awzi Kralingseveer | https://www.h2owaternetwerk.nl/h2o-techniek/blueroof-test-voedingsbodem-van-rioolafval-op-awzi-kralingseveer | Op de afvalwaterzuiveringsinstallatie Kralingseveer heeft BlueRoof een groen dak geplaatst met een voedingsbodem die bestaat uit rioolafval. De test duurt tot begin 2020, daarna, zo is het plan, wordt de voedingsbodem op de markt gebracht.
7 | c/d | 3 |  | x | x |  | Optimalisatie |  |  | Monitoren |  |  | Intelligente actuatoren die processen kunnen aanpassen | https://www.h2owaternetwerk.nl/h2o-techniek/krohne-en-samson-richten-joint-venture-op-voor-autonome-actuatoren | Focus-On is de naam voor een nieuwe joint venture van Krohne en Samson voor de productie van intelligente actuatoren. Ze zijn in staat om zelf te leren en beter te gaan functioneren.
8 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Advanced oxidation reactor voor verwijderen medicijnresten en desinfectie | https://www.h2owaternetwerk.nl/h2o-techniek/advanced-oxidation-reactor-voor-verwijderen-medicijnresten-en-desinfectie | Water Waves heeft samen met partner Lamp-ion een nieuwe methode ontwikkeld voor het verwijderen van medicijnresten en pesticiden uit afvalwater en voor desinfectie van water.
9 | c/d | 3 |  | x |  |  | Optimalisatie |  |  | Kosten |  |  | Seepex ontwikkelt nieuw systeem voor slibtransport | https://www.h2owaternetwerk.nl/h2o-techniek/seepex-ontwikkelt-nieuw-systeem-voor-slibtransport | Seepex heeft een nieuw technologie ontwikkeld voor het transport van ontwaterd zuiveringsslib. Het systeem maakt gebruik van excentrische verdringerpompen in combinatie met perslucht.
10 | c/d | 3 |  |  | x |  | Optimalisatie |  |  | Monitoren |  |  | Ammonium monitor voor onbehandeld afvalwater | https://www.h2owaternetwerk.nl/h2o-techniek/ammonium-monitor | Technische Alliantie toonde op de Aqua Nederland Vakbeurs voor het eerst de MS3500 ammonium monitor van het Britse bedrijf Multisensor Systems. Dit instrument is specifiek ontwikkeld voor het meten van ammonium in behandeld en ruw of onbehandeld afvalwater.
11 | c/d | 3 |  | x | x |  | Optimalisatie |  |  | Monitoren | Kosten |  | Smart Actuator, bedienen en monitoren op afstand | https://www.h2owaternetwerk.nl/h2o-techniek/bedienen-en-monitoren-op-afstand | GF Piping Systems heeft op de Aqua Nederland Vakbeurs een actuator gepresenteerd, die zich kenmerkt door eenvoudige installatie, bediening en monitoring. Deze Smart Actuator kan met een app via een wifi of een NFC verbinding worden geconfigureerd en bediend.
12 | c/d | 3 |  |  | x |  | Optimalisatie |  |  | Monitoren |  |  | Dompelsensor voor monitoren vaste stoffen in afvalwater | https://www.h2owaternetwerk.nl/h2o-techniek/dompelsensor-voor-monitoren-vaste-stoffen-in-afvalwater | Krohne introduceert de Optisens TSS 2000. Dit is een nieuwe sensor voor vaste stoffen. Deze is uitgevoerd als dompelsensor voor proces- en kwaliteitscontroles in afvalwater en industriële applicaties.
13 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Water |  |  | Scinor gaat Solef PVDF gebruiken voor membranen | https://www.h2owaternetwerk.nl/h2o-techniek/scinor-gaat-solef-pvdf-gebruiken-voor-membranen | Scinor Beijing Membrane Technology gaat het materiaal Solef PVDF van Solvay gebruiken voor de productie van ultrafiltratie membranen, waarmee drink- en proceswater kan worden gemaakt.
14 | c/d | 2 |  |  | x |  | Optimalisatie | Besparen |  | Energie | Kosten |  | Borstelcentrifuge lijkt veelbelovende duurzame techniek voor slibontwatering | https://www.h2owaternetwerk.nl/h2o-techniek/borstelcentrifuge-lijkt-veelbelovende-duurzame-techniek-voor-slibontwatering | De eerste resultaten met de inzet van een borstelcentrifuge bij slibontwatering zijn veelbelovend, blijkt uit een onderzoek in opdracht van het kenniscentrum STOWA en het Hoogheemraadschap van Rijnland. Bij deze duurzame techniek worden geen chemicaliën gebruikt.
15 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Waterkwaliteit |  |  | Evides Industriewater onderzoekt verbetering RO-processen | https://www.h2owaternetwerk.nl/h2o-techniek/evides-industriewater-onderzoekt-verbetering-ro-processen | Met een zelfontworpen pilotinstallatie gaat Evides Industriewater op zoek naar verbeteringen in processen van omgekeerde osmose. De focus ligt op oplossingen voor twee bekende problemen: biofouling en scaling, het neerslaan van zouten op het membraan.
16 | d | 3 | x |  |  | x | Optimalisatie |  | Winnen | Water | Monitoren |  | Opvangsysteem regenwater reageert op weersvoorspellingen | https://www.h2owaternetwerk.nl/h2o-techniek/opvangsysteem-regenwater-speelt-in-op-weersvoorspellingen | Wavin en het Britse bedrijf StormHarvester hebben een systeem geïntroduceerd om regenwater zowel op te vangen, te infiltreren als te gebruiken. Dit systeem, Wavin StormHarvester genaamd, kan helpen om overstromingen in steden te voorkomen. Het reageert op weersvoorspellingen
17 | d | 2 |  |  | x |  | Optimalisatie |  |  | Kosten | Microverontreiniging |  | Nijhuis past advanced oxidation process aan voor zuivering medicijnresten | https://www.h2owaternetwerk.nl/h2o-techniek/nijhuis-past-advanced-oxidation-process-aan-voor-zuivering-van-medicijnresten | Op het vlak van installaties voor advanced oxidation processen, heeft Nijhuis Industries met de MediOxi een nieuw product ontwikkeld. De installatie was te zien op Aquatech.
18 | d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Water | Waterkwaliteit |  | Nieuwe methode voor zuiveren gietwater | https://www.h2owaternetwerk.nl/h2o-techniek/nieuwe-methode-voor-zuiveren-gietwater | Op de Aqua Nederland Vakbeurs toonde Verhoeve Milieu en Water de voortgang van ZuNuRec. Dit staat voor Zuivering en Nutriënten Recuperatie. Het betreft een Belgisch project waarin technieken worden ontwikkeld om gebruikt gietwater te zuiveren, zodat het kan worden hergebruikt.
19 | d | 3 |  |  | x | x |  | Besparen |  | Water |  |  | Hydraloop komt met nieuwe systemen op de markt | https://www.h2owaternetwerk.nl/h2o-techniek/hydraloop-komt-met-nieuwe-systemen-op-de-markt | Hydraloop, het bedrijf dat waterreclycingsystemen voor huishoudens produceert, breidt het assortiment uit. Dit najaar lanceert het bedrijf op de Aquatech in Amsterdam een nieuw systeem dat geschikt is voor huishoudens van 3 personen. Dat zei ceo Arthur Valkieser tijdens een presentatie op de Aqua Nederland Vakbeurs.
20 | d | 3 |  |  | x | x |  |  | Winnen | Water | Monitoren |  | Drop2Drink maakt drinkwater van regenwater | https://www.h2owaternetwerk.nl/h2o-techniek/drop2drink-maakt-drinkwater-van-regenwater; https://www.d2dwatersolutions.com/nl/uw-producten/drop2drink-unit | De Drop2Drink unit behandelt regenwater, grondwater of onbetrouwbaar drinkwater dusdanig, dat het microbiologisch veilig wordt gemaakt voor consumptie. De unit is eind vorig jaar geïntroduceerd.
21 | c/d | 2 |  |  | x |  |  |  | Winnen | Ammoniak |  |  | Nieuwe techniek voor terugwinnen van ammonia | https://www.h2owaternetwerk.nl/h2o-techniek/nieuwe-techniek-voor-terugwinnen-van-ammonia | Onder leiding van Wetsus gaat in juli een Europees project van start om ammonia terug te winnen uit afvalwater. Het heet NEWBIES, wat staat voor Nitrogen Extraction from Water by an Innovative Electrochemical System.
22 | d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Medicijnresten verwijderen bij de bron of bij de RWZI? | https://www.h2owaternetwerk.nl/h2o-techniek/medicijnresten-verwijderen-bij-de-bron-of-bij-de-rwzi | BRANDED CONTENT - Nijhuis Industries presenteert dit jaar op de Aquatech wederom diverse ‘game-changing’ innovaties, waaronder de Nijhuis MediOxi en Nijhuis Electro Osmosis (NEO). De Nijhuis stand zal zich geheel gaan richten op solide en adaptieve oplossingen voor een duurzame en veerkrachtige toekomst.
23 | c | 3 |  |  |  | x |  |  | Winnen | Mineralen | Metalen |  | EasyMining wint mineralen en metalen uit verbrand slib | https://www.h2owaternetwerk.nl/h2o-techniek/easymining-wint-mineralen-en-metalen-uit-verbrand-slib | Verbrand slib afkomstig van waterzuiveringsinstallaties bevat tal van bruikbare stoffen. Het Zweedse bedrijf EasyMining heeft een technologie met de naam Ash2Phos ontwikkeld om deze uit de as te verwijderen.
24 | c | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Van Remmen en Nouryon slaan handen ineen tegen medicijnresten | https://www.h2owaternetwerk.nl/h2o-techniek/van-remmen-en-nouryon-slaan-handen-ineen-tegen-medicijnresten | Om resten van medicijnen en hormonen in afvalwater te verwijderen, hebben Van Remmen UV Technology en Nouryon gezamenlijk een nieuw systeem ontwikkeld. De inbreng van de eerste bestaat uit de MicrOx-technologie, waarmee waterstofperoxide aan afvalwater wordt toegevoegd. Van Remmen draagt bij met zijn Advanox-installaties, die gebruikt worden om afvalwater te behandelen met UV-C-straling.
25 | c | 2 |  |  |  | x |  |  | Winnen | Fosfaat |  |  | Zuiveringsslib wordt basis voor kunstmestkorrels | https://www.h2owaternetwerk.nl/h2o-techniek/zuiveringsslib-wordt-basis-voor-kunstmestkorrels | de verwerkers van zuiveringsslib HVC en SNB gaan fosfaat leveren aan kunstmestproducent ICL.
26 | c | 2 |  |  |  | x |  |  | Winnen | Fosfaat |  |  | As rioolslib tot waarde gebracht in nieuwe installatie ICL | https://www.h2owaternetwerk.nl/h2o-techniek/as-rioolslib-tot-waarde-gebracht-in-nieuwe-installatie-icl | Chemiebedrijf ICL heeft op zijn terrein in de haven van Amsterdam een installatie in gebruik genomen waarin fosfaathoudende as van verbrand rioolslib en beendermeel (restproduct van de vleesverwerkende industrie) hergebruikt kunnen worden in meststoffen.
27 | c | 3 |  |  |  | x |  |  | Winnen | Energie |  |  | Ecovat moet 500 appartementen in Arnhem van energie voorzien | https://www.h2owaternetwerk.nl/h2o-techniek/ecovat-moet-500-appartementen-in-arnhem-van-energie-voorzien | In Arnhem is deze maand begonnen met de aanleg van een Ecovat, een watervat dat vijfhonderd appartementen in Het Dorp van energie moet voorzien. Energie die 's zomers wordt opgewekt, kan in een ondergronds vat met water worden opgeslagen om in de winter gebruikt te worden.
28 | d | 2 | x | [5 empty] | Winnen | Water | Stikstof |  | The Nanomembrane Toilet: Membranes for water recovery in decentralised sanitation systems | https://cord.cranfield.ac.uk/articles/The_Nanomembrane_Toilet_Membranes_for_water_recovery_in_decentralised_sanitation_systems/7224149/1 | … The Nanomembrane Toilet: Membranes for water recovery in decentralised sanitation systems … ammoniacal nitrogen, and E.Coli bacteria are analysed in the wastewater storage tank … Subsequently, a membrane technology is developed that can provide a single-stage treatment …
29 | d | 1 |  | x |  |  | Optimalisatie |  |  | Slurrie |  |  | Rheological characterisation of concentrated domestic slurry | https://www.sciencedirect.com/science/article/pii/S0043135418303580 | … 1. Schematic representtion of a sanitation system according to decentralised sanitation and reuse concept … new sanitation systems, the collection and transport aspects of the wastewater bridging source … waste disposers (FWD) are an integral part of the new sanitation paradigm …
30 | c/d | 2 |  |  | x | x |  |  | Winnen | Energie |  |  | Carbon Fiber Amended Anaerobic Biofilm Reactor for Source-separated Blackwater Treatment | https://era.library.ualberta.ca/items/1a9b6a70-15a9-45fc-bac4-624560bf79fd | … Page 2. ii Abstract Decentralized domestic wastewater treatment is a new sanitation concept by … Bogte et al. (1993) firstly investigated onsite domestic wastewater treatment using a Page 24. 16 … toilet collected black water with (AC1) or without (AC2) urine. The average influent …
31 | c | 2 |  |  | x |  | Optimalisatie |  |  | Waterkwaliteit |  |  | Removal of ammonia using Ca-P (calcium polymer) from wastewaters produced in the recycling of disposable diapers | https://link.springer.com/article/10.1007/s10163-015-0420-9 | … layer. The collection beaker is located at the bottom … 10. Yang XM, Yahashi T, Kuniyasu K, Ohmori H (2001) On-site systems for domestic wastewater treatment (johkasous) in Japan. Decentralised sanitation and reuse—concepts …
32 | c/d | 2 |  |  | x |  |  |  | Winnen | Stikstof |  |  | Nitrogen recovery from anaerobically digested blackwaters using Bioelectrochemical systems | https://run4life-project.eu/wp-content/uploads/2019/09/Abstract-Borras-AD16-Run4Life.pdf | … separation of domestic wastewater is one of the pillars of the “new sanitation” paradigm (Graaf and van Hell, 2014), resulting in highly concentrated black water (BW) streams … such an approach include the possibility to recover energy from wastewater and micropollutants …
33 | c/d | 2 |  |  | x |  |  |  | Winnen | Nutriënten |  |  | Sea salt bittern-driven forward osmosis for nutrient recovery from black water: A dual waste-to-resource innovation via the osmotic membrane process | https://link.springer.com/article/10.1007/s11783-019-1211-7 | … The concept of new sanitation emphasizes the source separation of domestic wastewater into black water and … Biological black water treatment combined with membrane separation … in-situ formation of struvite with simultaneous water recovery from digested swine wastewater …
34 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Nutriënten |  |  | Alkaline dehydration of anion–exchanged human urine: Volume reduction, nutrient recovery and process optimisation | https://www.sciencedirect.com/science/article/pii/S0043135418304457 | … Decentralised sanitation. Ion–exchange. Response surface optimisation. Urease. Urea stabilisation. Urine … New sanitation systems based on source separation of human urine offer the … challenge the rationale of current approaches to wastewater collection, treatment, disposal, and …
35 | d | 2 |  |  | x | x |  |  | Winnen | Water |  |  | Graywater treatment technologies and reuse of reclaimed water for toilet flushing | https://link.springer.com/article/10.1007/s11356-019-05154-6 | … Abstract The reuse of wastewater is one effective approach to solving the problem of water resource scarcity … The objectives of this study were to characterize graywater (GW) treatment technology and to verify the suitability of the reclaimed water for toilet flushing …
36 | c/d | 2 |  |  | x |  |  |  | Winnen | Stikstof | Energie |  | Digested blackwater treatment in a partial nitritation-anammox reactor under repeated starvation and reactivation periods | https://www.sciencedirect.com/science/article/pii/S0959652619336030 | … The SBRs were inoculated with biomass from a full-scale ELAN® reactor (one-stage PN/AMX technology with granular sludge) treating the supernatant from an anaerobic sludge digester of a municipal wastewater treatment plant located in Guillarei (Tui, NW Spain) (Morales et …
37 | c/d | 2 |  |  | x |  |  |  | Winnen | Energie |  |  | Microbes: A Viable Mean for Wastewater Treatment and Source of Bioenergy | https://www.researchgate.net/profile/Richa_Kothari/publication/299466946_Microbes_A_Viable_Mean_for_Wastewater_Treatment_and_Source_of_Bioenergy/links/570753fc08aed73c8548ac46/Microbes-A-Viable-Mean-for-Wastewater-Treatment-and-Source-of-Bioenergy.pdf | … The basic problem of anaerobic action begins in the collection lines of a sewer line in megacities, where methane and hydrogen sulphide are lethal gases for life (NORWECO) … The importance of integrated technology for wastewater treatment and biofuel extraction is gaining …
38 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Fe (III)-citrate enhanced sunlight-driven photocatalysis of aqueous Carbamazepine | https://www.sciencedirect.com/science/article/pii/S1010603018318033 | … They are excreted by living organisms under medical treatment, disposed from households and … PPcPs are found in wastewater, surface water, groundwater and drinking water [[19], [20], [21 … polar nature imply their distribution will primarily occur through aqueous transport [23] …
39 | c/d | 2 |  |  | x |  |  |  | Winnen | Algen |  |  | Harvesting of microalgae biomass from the phycoremediation process of greywater | https://link.springer.com/article/10.1007/s11356-016-7456-9 | … contained in the urine which is passed together with faeces in the black water … to find novel microalgae strains that have high efficiency for wastewater treatment and yield … development of microorganisms used in biotechnology by using genetic engineering technology, which is …
40 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Algen | Nutriënten |  | Feasibility of closing nutrient cycles from black water by microalgae-based technology | https://www.sciencedirect.com/science/article/pii/S2211926419302279 | … New sanitation systems have been proposed to improve the closing of the carbon (C), nutrients and … lower quality water for flushing, (2) source-separating the collection of black water (toilet wastewater) and grey water (shower/washing wastewater), (3) directing the …
41 | d | 2 |  |  | x |  | Optimalisatie |  |  | Ammoniak |  |  | Decentralised black water treatment by combined auto-thermal aerobic digestion and ammonia–A pilot study optimising treatment capacity | https://www.sciencedirect.com/science/article/pii/S0301479717310617 | … perspective, helminth eggs are not considered a risk because not present in black water … 2015 J. Fidjeland. Sanitisation of Faecal Sludge by Ammonia - Treatment Technology for Safe … Calcaterra, A. ColombiSurvival of Ascaris suum eggs in ammonia-treated wastewater sludges …
42 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Phosphate Recovery from Synthetic Urine with Shell of Mizuhopecten yessoensis | https://www.jstage.jst.go.jp/article/jwet/14/6/14_16-007/_article/-char/ja/ | … Journal of Water and Environment Technology, Vol … [CrossRef] [16] Winker M, Vinnerås B, Muskolus A, Arnold U, Clem- ens J: Fertiliser products from new sanitation systems: their … 24] Williams S: Struvite precipitation in the sludge stream at slough wastewater treatment plant and …
43 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Membraan |  |  | Anaerobic treatment of source-separated domestic bio-wastes with an improved upflow solid reactor at a short HRT | https://www.sciencedirect.com/science/article/pii/S1001074217300888 | … The higher efficiency of the IUSR in treating concentrated black water and kitchen waste … This work was supported by the Major Science and Technology Program for Water … APHA, 1998 APHAStandard Methods for the Examination of Water and Wastewater. American Public …
44 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Energie |  |  | Start Up of a UASB Treating Malted Ingredient Manufacturing Wastewater | https://pdfs.semanticscholar.org/f891/f45ba6f6a0703023c888362253620f31b984.pdf | … Potentials of anaerobic treatment of domestic sewage under temperate climate conditions. In Decentralised sanitation and reuse: concepts, systems and implementation (pp … State-of-the-art of anaerobic digestion technology for industrial wastewater treatment …
45 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Fosfaat |  |  | Influence of pH, multivalent counter ions, and membrane fouling on phosphate retention during ceramic nanofiltration | https://www.sciencedirect.com/science/article/pii/S1383586619309992 | … membranes [16], [17] which makes this technology more suitable for treatment of municipal … Thus, theoretically, ceramic NF is an interesting technology for phosphate recovery using municipal … flux, a higher retention of solvents is observed due to enhance convective transport [55 …
46 | c/d |  |  |  | x |  | Optimalisatie |  |  | Natuurlijk systeem |  |  | A Modified Bio-Ecological Process for Rural Wastewater Treatment | https://www.mdpi.com/2076-3417/7/1/66 | … For rural areas there is a need to adopt decentralized wastewater treatment methods, because wastewater collection in the villages is difficult due to the dispersed … [23] described an ANP (analytical network processes) approach to rank wastewater treatment technology set-ups …
47 | c/d | 2 |  |  | x |  |  |  | Winnen | Nutriënten | Algen |  | Immobilized microalgae for nutrient recovery from source-separated human urine | https://link.springer.com/article/10.1007/s10811-017-1266-4 | … The major shortcoming of this technology is the limited N recovery potential, dictated by the 1:1 … a sheet-like porous substrate impermeable to them, but permeable to the liquid (eg, wastewater) and nutrients … 2014), but so far, not for the treatment of source-separated human urine …
48 | c/d | 2 |  |  | x | x | Optimalisatie | Besparen | Winnen | Nutriënten | Natuurlijk systeem | Water | Constructing the ecological sanitation: a review on technology and methods | https://www.sciencedirect.com/science/article/pii/S0959652616300725 | … wastewater (Bdour et al., 2009), the treatment technologies of different wastewater (black water, yellow water … Firstly, system technology of the Eco-San is combed according to the facility and function units of user interface, collection and storage, conveyance, treatment and reuse …
49 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Zuiveren |  |  | Effects of oxidation–reduction potential control and sequential use of biological treatment on the electrochemical Fenton-type process | https://www.sciencedirect.com/science/article/pii/S0957582016302646 | … reduction potential (ORP) control on the electrochemical Fenton-type process (EFT process) and the efficacy of a combined approach, namely, the EFT process with an ORP control together with an activated sludge process, on the treatment of wastewater contaminated with 1,4 …
50 | d | 2 |  |  | x | x |  |  | Winnen | Water | Energie |  | Hybrid membrane distillation reverse electrodialysis configuration for water and energy recovery from human urine: An opportunity for off-grid decentralised sanitation | https://www.sciencedirect.com/science/article/pii/S0376738819308506 | … challenged a RED stack with multiple real waters including municipal wastewater effluent, and … potential of a MD-RED configuration for small scale decentralised sanitation systems to … co-operation with the provision of safe sanitation from thermally driven membrane technology …
51 | d | 2 |  |  | x | x |  |  | Winnen | Nutriënten |  |  | Treatment of source-separated blackwater: A decentralized strategy for nutrient recovery towards a circular economy | https://www.mdpi.com/2073-4441/10/4/463 | … On-site treatment of this untapped valuable resource using the appropriate level of technology and subsequent resource recovery will make source-separation an attractive domestic wastewater management option and a source of value creation …
52 | d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Water | Waterkwaliteit |  | Start-up of a decentralized pilot plant for the anaerobic treatment of domestic wastewater | https://iwaponline.com/wpt/article-abstract/12/2/386/20836 | … M. Vega, F. Groß, A. Delgado; Start-up of a decentralized pilot plant for the anaerobic treatment of domestic … Water Practice and Technology 1 June 2017; 12 (2): 386–395 … In this context decentralized systems are required that treat wastewater on site, avoiding both the need to …
53 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Simulations and laboratory tests for assessing phosphorus recovery efficiency from sewage sludge | https://www.mdpi.com/2079-9276/7/3/54 | … achieved [21]. Figure 2 shows different possible locations for P-recovery processes within a wastewater treatment plant. Table 2 summarizes commercially available technologies, organized by type of waste treated and technology …
54 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Waterkwaliteit |  |  | Efficacy of a two-compartment electrochemical flow cell introduced into a reagent-free UV/chlorine advanced oxidation process | https://www.sciencedirect.com/science/article/pii/S1385894720303764 | … practitioners in environmental engineering as an advanced oxidation process (AOP) for water treatment at present … The run was continued for 180 min, and 15 mL of wastewater was sampled from … These results indicated that the mass transport from the bulk to the anode was the …
55 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Water | Waterkwaliteit |  | Linking transformations of organic carbon to post-treatment performance in a biological water recycling system | https://www.sciencedirect.com/science/article/pii/S0048969720310007 | … wastewater can also result in the oxidation of chloride to chlorine, (Martínez-Huitle et al … GAC is another well-established technology for removing color, odor and recalcitrant compounds … identified by the corresponding percentage of DOC removed by the treatment at the time of …
56 | d | 2 | x |  |  |  | Optimalisatie |  | Winnen | Energie | Nutriënten | Water | Co-digestion of blackwater with kitchen organic waste: Effects of mixing ratios and insights into microbial community | https://www.sciencedirect.com/science/article/pii/S0959652619325533 | … 1. Introduction. Decentralized wastewater management with source separated blackwater (BW) and greywater collection, treatment and water reuse maximize wastewater resource (energy, nutrient and water) recovery (Poortvliet et al., 2018) …
57 | d | 2 | x |  |  |  | Optimalisatie |  | Winnen | Water | Energie |  | Probabilistic performance assessment of complex energy process systems–the case of a self-sustained sanitation system | https://www.sciencedirect.com/science/article/pii/S0196890418301560 | … of energy [2]. In addition, it requires public infrastructure including water supply, sewer and waste water treatment works, therefore is … Sustainable 'off-grid' decentralised sanitation technologies are widely promoted by many international initiatives [3], as they are more suitable for …
58 | c/d | 2 |  |  | x |  |  |  | Winnen | Nutriënten |  |  | Adsorptive resource recovery from human urine: system design, parametric considerations and response surface optimization | https://www.sciencedirect.com/science/article/pii/S1877705816310244 | … over a 1 month collection period and utilized continuously; the collection was carried out … the desired output (column capacity) in adsorption systems for wastewater treatment and resource … A. Muskolus, U. Arnold, J. Clemens, Fertiliser products from new sanitation systems: their …
59 | c/d | 2 | x | [5 empty] | Winnen | Stikstof |  |  | Link between dissolved organic matter transformation and process performance in a membrane bioreactor for urinary nitrogen stabilization | https://pubs.rsc.org/en/content/articlehtml/2018/ew/c8ew00029h | … Membrane bioreactors have become state-of-the-art technology for wastewater treatment … 20 studied the impact of NLR on the efficiency of municipal wastewater treatment in a … tank of a full scale domestic WWTP (8.000 PE) performing nitrification/denitrification treatment using a …
60 | c/d | 2 |  |  | x | x |  |  | Winnen | Nutriënten |  |  | Electrolytic Oxidation as a Sustainable Method to Transform Urine into Nutrients | https://www.mdpi.com/2227-9717/8/4/460 | … Dimensionally stable anodes (DSA) and boron-doped diamond (BDD) electrodes have largely been investigated as thin film active anodic materials in electrolytic processes for water and wastewater treatment [30,31,32,33,34,35] …
61 | d | 2 |  |  | x |  | Optimalisatie |  |  | Waterkwaliteit |  |  | Combined Application of Coagulation/Flocculation/Sedimentation and Membrane Separation for the Treatment of Laundry Wastewater | https://www.hindawi.com/journals/ijce/2019/8324710/abs/ | … be related to the type of items that were washed on the different collection days since the … The results obtained from the industrial laundry wastewater characterization indicate the necessity to remove the … For this purpose, the utilization of a C/F/S treatment to remove the solids in …
62 | d | 2 |  |  | x |  |  |  | Winnen | Energie |  |  | High-Loading Food Waste and Blackwater Anaerobic Co-digestion: Maximizing Bioenergy Recovery | https://www.sciencedirect.com/science/article/pii/S1385894720309037 | … wastewater source-diversion has been developed to maximize the resource recovery from wastewater … In North America, the reported BW : FW VS collection ratio ranged … co-digestion strategy and potentially guide future decentralized waste/wastewater treatment system designs …
63 | d | 2 |  |  | x | x |  |  | Winnen | Nutriënten |  |  | Lactic acid fermentation of human excreta for agricultural application | https://www.sciencedirect.com/science/article/pii/S0301479717311477 | … to transport excreta, generating enormous amounts of wastewater which cannot be fully cleaned with existing conventional technology … of nutrients and organic matter being discharged into surface waters, especially since 90% of the wastewater is released without treatment …
64 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Removal of phosphorus from anaerobic digested blackwater by precipitation with struvite from seawater and magnesium chloride | https://nmbu.brage.unit.no/nmbu-xmlui/handle/11250/2629494 | … 37 4.1.1 Digested black water from Kaja … 2.5.7 Airprex AirPrex technology is designed to control the incrustations of wastewater pipes due to the … owner of the AirPrex technology, and they built three treatment plant for recovery of P .Phosphate …
65 | d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Ultraviolet photolysis of acetaminophen in a 3D printed continuous flow reactor | https://ir.library.oregonstate.edu/concern/honors_college_theses/bv73c5624 | … New sanitation facilities could include the technology to segregate urine from other wastes … fertilizer.2 This increases the potential impact of source separation in new sanitation facilities to … to reduce eutrophication.4 The NPK would be kept out of wastewater, reducing unwanted …
66 | d | 2 | x |  |  |  |  | Besparen | Winnen | Nutriënten | Water |  | Urea stabilisation and concentration for urine-diverting dry toilets: Urine dehydration in ash | https://www.sciencedirect.com/science/article/pii/S0048969717302796 | … The urine could be collected, contained, treated and reduced, all in the same collection container … Thus ash treatment is not only as efficient or more efficient at retaining N, but the end product is a dry powder that is lighter to transport and easier to apply with conventional …
67 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Waterkwaliteit |  |  | State of the Art of UV/Chlorine Advanced Oxidation Processes: Their Mechanism, Byproducts Formation, Process Variation, and Applications | https://www.jstage.jst.go.jp/article/jwet/17/5/17_19-021/_article/-char/ja/ | … Journal of Water and Environment Technology, Vol … Organic chemicals registered in the PRTR system contain biochemically and/or chemically persistent ones, which are difficult to be efficiently removed from water streams by conventional wastewater treatment processes like …
68 | d | 2 |  |  |  | x |  |  | Winnen | Nutriënten |  |  | Study on Bioconversion of Household Waste and Faecal Sludge through Various Composting Process | https://pdfs.semanticscholar.org/f372/7fbd783951aea771ca90e3d7f6ba80dd74e0.pdf | … These liquids are normally several times more concentrated in suspended and dissolved solids than wastewater (Sandec Training Tool: Module 5, 2008) … It is a combination of solid portion with black water … are the examples of onsite technology …
69 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Membraan |  |  | Silica MBRs: Design, Configuration, and Performance | https://www.sciencedirect.com/science/article/pii/B9780128168226000021 | … The use of silica or silicate-based membranes in MBR applications for wastewater treatment and biofuel production is described. Previous chapter in book; Next chapter in book. Keywords … Wastewater treatment. Zeolite membranes. 1. Introduction …
70 | c/d | 2 |  |  | x |  |  |  | Winnen | Nutriënten |  |  | Recovery of nutrients from concentrated liquid waste streams | https://nmbu.brage.unit.no/nmbu-xmlui/handle/11250/2629487 | … (Zeeman & Kujawa-Roeleveld, 2011). Domestic wastewater can be divided into black water (faeces and urine), grey water (water from bath, shower, laundry and kitchen) and waste produced in kitchen (Zeeman & Kujawa-Roeleveld, 2011) … in the wastewater …
71 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Calcium phosphate granules recovered from black water treatment: A sustainable substitute for mined phosphorus in soil fertilization | https://www.sciencedirect.com/science/article/pii/S0921344920301129?via%3Dihub | Phosphate is essential for food production. However, phosphate rock, which is the main natural source, is becoming worse in quality due to the depletion of the reserves and contamination with heavy metals and radioactive elements. Marketable phosphate contains more than 13 wt% of phosphorus (P), but run-of-the-mine phosphate rock is of lower grade (8 to 11 wt% of P). In this study, calcium phosphate granules (CaP granules) produced during anaerobic treatment of vacuum collected black water (feces and urine, BW) were assessed for their potential as a substitute for phosphate rock. The quality assessment was based on elemental composition (macro nutrients and heavy metals), crystallography and morphology analyses, dissolution tests, and quantification of micropollutants. CaP granules contained 10 wt% of P, from which 35% was dissolved within 5 min in citric acid and 85% in H2SO4. The incineration of the CaP granules increased the P content to 15 wt%, by eliminating the remaining organics (29%), pathogens, and organic micropollutants. Heavy metals (Cu, Zn, Cr, Ni, Cd, As, and Pb) and organic micropollutants in CaP granules were below the Dutch and European regulatory limits for direct fertilizer application. Moreover, incinerated CaP granules complied with the requirements for use in the fertilizer industry. At the current process conditions, CaP granules produced from BW can potentially replace 12% of the phosphate rock used in agriculture as fertilizer.
72 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Fosfaat |  |  | Calcium addition to increase the production of phosphate granules in anaerobic treatment of black water | https://www.sciencedirect.com/science/article/pii/S0043135417310072?via%3Dihub | Simultaneous recovery of calcium phosphate granules (CaP granules) and methane from vacuum collected black water (BW), using an upflow anaerobic sludge blanket (UASB) reactor was previously investigated. It was calculated that only 2% of the total phosphorus (P) fed was present as CaP granules whereas 51% of the P accumulated dispersed in the reactor, limiting the applicability of this process for recovery of phosphate. This study proposes adding calcium to increase the P accumulation in the reactor and the production of CaP granules. Calcium was added in a lab-scale UASB reactor fed with BW. An identical UASB reactor was used as reference, to which no calcium was added. The treatment performance was evaluated by weekly monitoring of influent, effluent and produced biogas. Sludge bed development and CaP granulation were assessed through particle size analysis. The composition and structure of CaP granules were chemically and optically assessed. Calcium addition increased accumulation of P in the reactor and formation and growth of granules with size > 0.4 mm diameter (CaP granules). Moreover, with calcium addition, CaP granules contained 5.6 ± 1.5 wt% of P, while without calcium a lower P content was observed (3.7 ± 0.3 wt%). By adding Ca, 89% of the incoming P from BW accumulated in the reactor and 31% was sampled as CaP granules (> 0.4 mm diameter). Addition of 250 mgCa L−1 of BW was the optimum loading found in this study. Furthermore, no significant reduction in CODTotal removal (> 80%) and CH4 production (0.47 ± 0.10 gCOD-CH4 g−1CODTotal-BW) was observed. Therefore, adding calcium can significantly increase the CaP granulation without inhibiting the simultaneous CH4 recovery. This further indicates the potential of this process for phosphate recovery.
73 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat | Biogas |  | vivimag | https://www.wetsus.nl/vivimag/about-vivimag | ViviMag will develop and up-scale a magnetic separation process to recover the insoluble iron phosphate mineral vivianite from the Sewage Treatment Plants (STPs) that rely on chemical Phosphate removal. The separation process will be applied on sewage sludge after anaerobic digestion. Anaerobic digestion reduces the sludge volume and recovers energy in the form of biogas. During anaerobic digestion Fe(III) is reduced to Fe(II), which results in vivianite formation.
74 | c/d | 3 |  |  | x |  | Optimalisatie |  |  | Nutriënten | Microverontreiniging | Waterkwaliteit | Verbetering waterzuivering 1-STEP® filter | https://www.witteveenbos.com/nl/projecten/verbetering-waterzuivering-door-1-stepr-filter/ | Het 1-STEP® filter is een gezamenlijke innovatie van Waternet, Witteveen+Bos, Nijhuis Industries, Cabot Norit Activated Carbon en de TU Delft. Het 1-STEP® filter is een compact actief koolfilter dat in één installatie fosfaat, zwevende stof, zware metalen, stikstof, organische microverontreinigingen en medicijnresten verdergaand uit gezuiverd afvalwater verwijdert. Enkele jaren geleden waren strengere eisen in de lozingsvergunning directe aanleiding voor innovatie, ontwikkeling en implementatie bij Waternet. Op de rioolwaterzuiveringsinstallatie Horstermeer levert het filter een kosteneffectieve kwaliteitsverbetering van het effluent. Ook blijkt het 1-STEP® filter een ideale voorbehandeling voor productie van industrie- en proceswater vanuit effluent. Het 1-STEP® filter is daarmee een onmisbare schakel in waterhergebruikinstallaties en een belangrijke bijdrage op weg naar de circulaire economie.
75 | c/d | 3 |  |  | x | x | Optimalisatie |  | Winnen | Water | Nutriënten | Microverontreiniging | CoRe Water: from WWTP to a sustainable water factory | https://library.kwrwater.nl/publication/59771759/ | Sewage is thickened by a factor of 20 with membrane filtration. The concentrated stream (1 of the 20 parts) is purified in several steps, the remaining 19 parts are released as pure water. The CoRe Water concept represents a highly innovative approach to the treatment of wastewater. Aims are to reuse of water & materials, reduce GHG & medicines emissions and stimulate modular construction.
76 | c/d | 3 |  |  | x |  | Optimalisatie |  |  | Waterkwaliteit |  |  | Axine Water | https://axinewater.com/solutions/ | Axine’s technology is based on a breakthrough in electrochemical oxidation. Axine’s technology applies electricity to solid state electrodes made from advanced catalyst materials. Wastewater or aqueous waste flows through the reactor. Power is applied to electrodes and the Axine process mineralizes and destroys all types of toxic, recalcitrant organics through multiple oxidation mechanisms. Axine’s technology does not use hazardous chemicals and does not produce any solid or liquid waste. Catalyst materials and electrodes are selected depending on the treatment application. Axine’s technology is protected by an extensive patent portfolio.
77 | d | 3 |  | x |  |  | Optimalisatie |  |  | Monitoren |  |  | curapipe | https://www.curapipe.com/ | Active leakage control à find and fix. TALR: repair solution. For potable water, water saving, transport. “Leaky holes and crackes are self-detected. Curapipe's special viscous curing substances automatically seal and permanently cure the detected leaks.”
78 | c/d | 2 |  |  | x |  |  |  | Winnen | Stikstof |  |  | NEWBIES | https://newbies.eu/technology/ | The LIFE-NEWBIES project aims to shorten the nitrogen cycle by directly recovering nitrogen (in the from of ammonia, NH3) from wastewater using a combination of electrodialysis by bipolar membranes (EDBM) and gas stripping
79 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Stikstof | Fosfaat |  | Anaerobic biological fermentation of urine as a strategy to enhance the performance of a microbial electrolysis cell (MEC) | https://www.sciencedirect.com/science/article/pii/S096014811930285X?via%3Dihub | This study investigated the effect of pre-fermented urine on anode performance of a two-chambered microbial electrolysis cells (MECs) compared to raw urine. Pre-fermentation of urine was performed by anaerobic digestion. The effect of this pre-fermentation on anode performance of a MEC was assessed by measuring the removal of chemical oxygen demand (COD), current density and Coulombic efficiency (CE). The MEC using fermented urine achieved a higher average current density (218 ± 6 mA m−2) and a higher CE (17%). Although no significant differences were observed in the COD removal efficiency between both urines, the MEC using fermented urine displayed the highest COD removal rate (0.14 ± 0.02 g L−1 d−1). The organic compounds initially found in both urines, as well as the metabolic products associated to the biodegradation of the organic matter were analyzed by proton nuclear magnetic resonance (1H NMR). The main compounds initially identified in the raw urine were urea, creatinine and acetate. In the fermented urine, the main compounds identified were methylamine, acetate and propionic acid demonstrating the effectiveness of the anaerobic fermentation step.
80 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Bulk pH and Carbon Source Are Key Factors for Calcium Phosphate Granulation | https://pubs.acs.org/doi/10.1021/acs.est.8b06230 | Recovery of calcium phosphate granules (CaP granules) from high-strength wastewater is an opportunity to reduce the natural phosphorus (P) scarcity, geographic imbalances of P reserves, and eutrophication. Formation of CaP granules was previously observed in an upflow anaerobic sludge bed (UASB) reactor treating source separated black water and is enhanced by Ca2+ addition. However, the required operating conditions and influent composition for CaP granulation are still unknown. In this study, we have experimentally demonstrated that the carbon source and bulk pH are crucial parameters for the formation and growth of CaP granules in a UASB reactor, operating at relatively low upflow velocity (<1 cm h–1). Degradation of glucose yielded sufficient biomass (microbial cells and extracellular biopolymers) to cover crystal and amorphous calcium phosphate [Cax(PO4)y], forming CaP granules. Influent only containing volatile fatty acids as the carbon source did not generate CaP granules. Moreover, bulk pH between 7.0 and 7.5 was crucial for the enrichment of Cax(PO4)y in the granules over bulk precipitation. Bulk pH 8 reduced the Cax(PO4)y enrichment in granules of >1.4 mm diameter from 9 to 5 wt % P. Moreover, for bulk pH 7.5, co-precipitation of CaCO3 with Cax(PO4)y was reduced.
81 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Recovery of calcium phosphate granules from black water using a hybrid upflow anaerobic sludge bed and gas-lift reactor | https://www.sciencedirect.com/science/article/pii/S0013935119304682?via%3Dihub | Adding calcium during anaerobic digestion of vacuum collected black water (BW) in an up-flow anaerobic sludge bed (UASB) reactor increased the retention of total phosphorus (P) in the reactor from 51% to 87%. However, the insufficient mixing in the reactor caused cementation and relatively high content of organics in the recovered calcium phosphate (CaP) granules, limiting the P recovery. In this study, the UASB reactor was mixed with an internal gas-lift (UASB-GL) to prevent cementation and to enhance the P content in CaP granules. The novel UASB-GL reactor operated for 300 days, treating concentrated BW. At steady state, the removal of total COD and P was 92% and 90%, respectively. The gas injection created a sludge bed with an average total suspended solids concentration of 73 ± 16 g/L at the bottom and 31 ± 5 g/L at the top of the reactor. The concentration of solid P at the bottom of the reactor was 4.58 ± 1.34 gP/L, while at the top a much lower concentration was obtained (0.75 ± 0.32 gP/L). 89% of the CaP granules was found at the bottom of the reactor. The harvested CaP granules (>0.4 mm diameter) contained on average 7.8 ± 0.6 wt% of P. A potential recovery of 57% of P in BW as CaP granules was calculated, considering actual application of the UASB-GL reactor in source separated sanitation.
82 | c/d | 2 |  | x |  |  | Optimalisatie |  |  | Monitoren |  |  | Monitoring Support for Water Distribution Systems based on Pressure Sensor Data | https://link.springer.com/article/10.1007%2Fs11269-019-02245-4 | The increasing age and deterioration of drinking water mains is causing an increasing frequency of pipe bursts. Not only are pipe repairs costly, bursts might also lead to contamination of the Dutch non-chlorinated drinking water, as well as damage to other above- and underground infrastructure. Detection and localization of pipe bursts have long been priorities for water distribution companies. Here we present a method for proactive leakage control, referred to as Monitoring Support. Contrary to most leak prevention methods, our method is based on real-time pressure sensor measurements and focuses on detection of recurring pressure anomalies, which are assumed to be indicative of misuse or malfunctioning of the water distribution network. The method visualizes and warns for both recurring and one-time anomalous events and offers monitoring experts an unsupervised decision support tool that requires no training data or manual labeling. Additionally, our method supports any time series data source and can be applied to other types of distribution networks, such as those for gas, electricity and oil. The performance of our method, including both instance-based and feature-based clustering, was validated on two pressure sensor data sets. Results indicate that feature-based clustering is the best method for detection of recurring pressure anomalies, with accuracy F1-scores of 92% and 94% for a 2013 and 2017 data set, respectively.
83 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Calcium Carbonate Packed Electrochemical Precipitation Column: New Concept of Phosphate Removal and Recovery | https://pubs.acs.org/doi/10.1021/acs.est.9b03795 | Phosphorus (P) is a vital micronutrient element for all life forms. Typically, P can be extracted from phosphate rock. Unfortunately, the phosphate rock is a nonrenewable resource with a limited reserve on the earth. High levels of P discharged to water bodies lead to eutrophication. Therefore, P needs to be removed and is preferably recovered as an additional P source. A possible way to achieve this goal is by electrochemically induced phosphate precipitation with coexisting calcium ions. Here, we report a new concept of phosphate removal and recovery, namely a CaCO3 packed electrochemical precipitation column, which achieved improved removal efficiency, shortened hydraulic retention time, and substantially enhanced stability, compared with our previous electrochemical system. The concept is based on the introduction of CaCO3 particles, which facilitates calcium phosphate precipitation by buffering the formed H+ at the anode, releases Ca2+, acts as seeds, and establishes a high pH environment in the bulk solution in addition to that in the vicinity of the cathode. It was found that the applied current, the CaCO3 particle size, and the feed rate affect the removal of phosphate. Under optimized conditions (particle size, <0.5 mm; feed rate, 0.4 L/d; current, 5 mA), in a continuous flow system, the CaCO3 packed electrochemical precipitation column achieved 90 ± 5% removal of phosphate in 40 days and >50% removal over 125 days with little maintenance. The specific energy consumptions of this system lie between 29 and 61 kWh/kg P. The experimental results demonstrate the promising potential of the CaCO3 packed electrochemical precipitation column for P removal and recovery from P-containing streams.
84 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Energy Efficient Phosphorus Recovery by Microbial Electrolysis Cell Induced Calcium Phosphate Precipitation | https://pubs.acs.org/doi/10.1021/acssuschemeng.9b00867 | Phosphorus (P) removal and recovery from waste streams is essential for a sustainable world. Here, we updated a previously developed abiotic electrochemical P recovery system to a bioelectrochemical system. The anode was inoculated with electroactive bacteria (electricigens) which are capable of oxidizing soluble organic substrates and releasing electrons. These electrons are then used for the reduction of water at the cathode, resulting in an increase of pH close to the cathode. Hence, phosphate can be removed with coexisting calcium ions as calcium phosphate at the surface of the cathode with a much lower energy input. Depending on the available substrate (sodium acetate) concentration, an average current density from 1.1 ± 0.1 to 6.6 ± 0.4 A/m2 was achieved. This resulted in a P removal of 20.1 ± 1.5% to 73.9 ± 3.7%, a Ca removal of 10.5 ± 0.6% to 44.3 ± 1.7% and a Mg removal of 2.7 ± 1.9% to 16.3 ± 3.0%. The specific energy consumption and the purity of the solids were limited by the relative low P concentration (0.23 mM) in the domestic wastewater. The relative abundance of calcium phosphate in the recovered product increased from 23% to 66% and the energy consumption for recovery was decreased from 224 ± 7 kWh/kg P to just 56 ± 6 kWh/kg P when treating wastewater with higher P concentration (0.76 mM). An even lower energy demand of 21 ± 2 kWh/kg P was obtained with a platinized cathode. This highlights the promising potential of bioelectrochemical P recovery from P-rich waste streams.
85 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Fate of calcium, magnesium and inorganic carbon in electrochemical phosphorus recovery from domestic wastewater | https://www.sciencedirect.com/science/article/pii/S1385894719300646?via%3Dihub | Calcium (Ca), magnesium (Mg), phosphate and (bi)carbonate are removed simultaneously in electrochemical recovery of phosphorus (P) from sewage. However, the fate of these ions is not completely understood yet. In this paper, through wastewater acidification and current density altering, we clarified the precipitation process and electrochemical interaction of phosphate and coexisting ions. The removal of P is attributed to amorphous calcium phosphate (ACP) formation, whereas the removal of bicarbonate is mainly due to calcite (CaCO3) formation and acid-base neutralization. While both ACP and calcite results in Ca removal, Ca predominantly ends up in calcite. For Mg, it is exclusively removed as brucite (Mg(OH)2). Regardless of the acidification, 53 ± 2% P and 32 ± 1% Mg were removed in 24 h at 8.3 A/m2. By contrast, in response to the acidification, the removal of Ca dropped from 42% to 19%. The removal of Mg depends on the current density, with less than 5% removed at 1.4 A/m2 but 70% at 27.8 A/m2 in 24 h. Based on the precipitation mechanisms, the formation of calcite and brucite can be reduced by acidification and operating at a relatively low current density, respectively. Accordingly, we achieved the lowest Ca/P molar ratio (1.8) and the highest relative abundance of ACP in the precipitates (75%) at bulk pH 3.8 with a current density of 1.4 A/m2.
86 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Improved phosphoric acid recovery from sewage sludge ash using layer-by-layer modified membranes | https://www.sciencedirect.com/science/article/pii/S0376738818334719?via%3Dihub | We report an advanced treatment method for phosphoric acid recovery from leached sewage sludge ash. Layer-by-layer (LbL) polyelectrolyte deposition has been used as a tool to modify and convert a hollow ultrafiltration membrane into a nanofiltration (NF) LbL membrane for H3PO4 recovery. To build the LbL membrane, poly(styrenesulfonate) PSS was chosen as polyanion, while three different polycations were used: a permanently charged polyelectrolyte, poly(diallyldimethylammonium chloride), PDADMAC; a pH-dependent charged polyelectrolyte poly(allylamine hydrochloride), PAH; and a PAH modified with guanidinium groups (PAH-Gu). Based on detailed surface characterizations (AFM, XPS and Zeta-potential) it was concluded that both charge density and pH-responsiveness of the polycations are key parameters to control the final membrane surface structure and transport properties. The surface properties of LbL-coated membranes were correlated with the membrane filtration performance, when exposed to the real leached sewage sludge ash solution. The highest permeability was recorded for (PDADMAC/PSS)6, a result that was rationalized on its loose, and possibly less interpenetrated, structure, followed by (PAH-Gu/PSS)6 characterized by a more dense, compact layer. H3PO4 recovery was the highest in the case of (PDADMAC/PSS)6, but the retention of multivalent metals (Fe3+ and Mg2+) was low, leading to a more contaminated permeate. The opposite trend was observed for (PAH-Gu/PSS)6, resulting in a less metal-contaminated, but also a less H3PO4-concentrated permeate. Our LbL-modified membranes were found to improve the permeability and H3PO4 recovery compared to a commercially available acid-resistant NF membrane.
87 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Magnetic separation and characterization of vivianite from digested sewage sludge | https://www.sciencedirect.com/science/article/pii/S1383586619304307?via%3Dihub | To prevent eutrophication of surface water, phosphate needs to be removed from sewage. Iron (Fe) dosing is commonly used to achieve this goal either as the main strategy or in support of biological removal. Vivianite (Fe(II)3(PO4)2 * 8H2O) plays a crucial role in capturing the phosphate, and if enough iron is present in the sludge after anaerobic digestion, 70–90% of total phosphorus (P) can be bound in vivianite. Based on its paramagnetism and inspired by technologies used in the mining industry, a magnetic separation procedure has been developed. Two digested sludges from sewage treatment plants using Chemical Phosphorus Removal were processed with a lab-scale Jones magnetic separator with an emphasis on the characterization of the recovered vivianite and the P-rich caustic solution. The recovered fractions were analyzed with various analytical techniques (e.g., ICP-OES, TG-DSC-MS, XRD and Mössbauer spectroscopy). The magnetic separation showed a concentration factor for phosphorus and iron of 2–3. The separated fractions consist of 52–62% of vivianite, 20% of organic matter, less than 10% of quartz and a small quantity of siderite. More than 80% of the P in the recovered vivianite mixture can be released and thus recovered via an alkaline treatment while the resulting iron oxide has the potential to be reused. Moreover, the trace elements in the P-rich caustic solution meet the future legislation for recovered phosphorus salts and are comparable to the usual content in Phosphate rock. The efficiency of the magnetic separation and the advantages of its implementation in WWTP are also discussed in this paper.
88 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Fe(III) reduction and vivianite formation in activated sludge | https://www.sciencedirect.com/science/article/pii/S1383586618339583?via%3Dihub | Kinetics of iron reduction, formation of vivianite and the microbial community in activated sludge from two sewage treatment plants (STPs) with low (STP Leeuwarden, applying enhanced biological phosphate removal, EBPR) and high (STP Cologne, applying chemical phosphate removal, CPR) iron dosing were studied in anaerobic batch experiments. The iron reduction rate in CPR sludge (2.99 mg-Fe g VS−1 h−1) was 3-times higher compared to EBPR sludge (1.02 mg-Fe g VS−1 h−1) which is probably caused by its 3-times higher iron content. Accordingly, first order rate constants in both sludges are comparable (0.06 ± 0.001 h−1 in EBPR vs 0.05 ± 0.007 h−1 in CPR sludge), thus potential rates in both sludges are comparable. The measured Fe(III) reduction rates suggest that all iron in STP Leeuwarden and STP Cologne can be turned over within 15 h and 44 h respectively. Mössbauer spectroscopy and X-ray diffraction (XRD) indicated vivianite formation within 24 h in both sludges. After 24 h, 53% and 34% of all iron were bound in vivianite in the EBPR and CPR sludge respectively. Next generation sequencing (NGS) showed that the microbial community in the CPR sludge comprised more genera with iron-oxidizing and iron-reducing bacteria. Iron reduction and vivianite formation commence once activated sludge is exposed to oxygen free conditions. Our study reveals that the biogeochemistry of iron in STPs is very dynamic. By understanding the interactions between iron and phosphate crucial processes in modern sewage treatment, such as chemical phosphate removal or phosphate recovery from sewage sludge, can be optimized.
89 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Micropollutant rejection of annealed polyelectrolyte multilayer based nanofiltration membranes for treatment of conventionally-treated municipal wastewater | https://www.sciencedirect.com/science/article/pii/S1383586618319427?via%3Dihub | The ever-increasing concentrations of micropollutants (MPs) found at the outlet of conventional wastewater treatments plants, is a serious environmental concern. Polyelectrolyte multilayer (PEM)-based nanofiltration (NF) membranes are seen as an attractive approach for MPs removal from wastewater effluents. In this work, PEMs of poly(allylamine hydrochloride) (PAH) and poly(acrylic acid) (PAA) were coated in a layer by layer (LbL) fashion on the surface of a polyacrylonitrile ultrafiltration support to obtain PEM-based NF membranes. The impact of PEM post-treatment, by applying salt and thermal annealing, was then investigated in terms of swelling, hydrophilicity, permeability, and ion rejection. While thermal annealing produced a more compact structure of PEM, it did not improve the ion rejection. Among the different salt concentrations examined for the salt-annealing process, the highest ion rejection was observed for (PAH/PAA)15 membranes annealed in 100 mM NaNO3, interestingly without any decrease in the water permeability. This membrane was studied for the rejection of four MPs including Diclofenac, Naproxen, 4n-Nonylphenol and Ibuprofen from synthetic secondary-treated wastewater, over a filtration time of 54 h. At an early stage of filtration, the membrane became more hydrophobic and a good correlation was found between the compounds hydrophobicity and their rejection. As the filtration continued until the membrane saturation, an increase in membranes hydrophilicity was observed. Hence, in the latter stage of filtration, the role of hydrophobic interactions faded-off and the role of molecular and spatial dimensions emerged instead in MPs rejection. To test the suitability of the membranes for the ease of cleaning and repeated use, the sacrificial PEMs and foulants were completely removed, followed by re-coating of PEMs on the cleaned membrane. The higher MPs rejection observed in salt-annealed membranes compared to the non-annealed counterparts (52–82% against 43–69%), accompanied with still low ion rejection, confirm the high potential of PEM post-treatment to achieve better performing PEM-based NF membranes.
90 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Duurzaam |  |  | Sustainable Membrane Production through Polyelectrolyte Complexation Induced Aqueous Phase Separation | https://onlinelibrary.wiley.com/doi/full/10.1002/adfm.201907344 | Nonsolvent induced phase separation (NIPS) is the most common approach to produce polymeric membranes. Unfortunately, NIPS relies heavily on aprotic organic solvents like N‐methyl‐pyrrolidone. These solvents are unsustainable, repro‐toxic for humans and are therefore becoming increasingly restricted within the European Union. A new and sustainable method, aqueous phase separation (APS), is reported that eliminates the use of organic solvents. A homogeneous solution of two polyelectrolytes, the strong polyanion poly(sodium 4‐styrenesulfonate) (PSS) and the weak polycation poly(allylamine hydrochloride) (PAH), is prepared at high pH, where PAH is uncharged. Immersing a film of this solution in a low pH bath charges the PAH and results in a controlled precipitation, forming a porous water‐insoluble polyelectrolyte complex, a membrane. Pore sizes can be tuned from micrometers to just a few nanometers, and even to dense films, simply by tuning the polyelectrolyte concentrations, molecular weights, and by changing the salinity of the bath. This leads to excellent examples of microfiltration, ultrafiltration, and nanofiltration membranes. Polyelectrolyte complexation induced APS is a viable and sustainable approach to membrane production that provides excellent control over membrane properties and even allows new types of separations.
91 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Robuust |  |  | Hybrid ceramic membranes for organic solvent nanofiltration: State-of-the-art and challenges | https://www.sciencedirect.com/science/article/pii/S0376738819328893?via%3Dihub | Uniquely suited to organic solvent nanofiltration (OSN) are hybrid, ceramic-based membranes. The stability of these membranes in the harsh solvents and conditions of industrial process streams is due to the sturdy and inert architecture of the ceramic, while the organic functionalization is responsible for surface and pore properties of the membrane, and hence its performance. Recently, this kind of inorganic-organic union has produced a plethora of stable and high-performance membranes in a variety of OSN conditions - the topic of this review. This work details and compares the surface modification methods used to fabricate these membranes and their resulting performance. Also, we discuss the capabilities and shortcomings of both the characterization tools and the transport models used to describe this class of membranes. Throughout we aim to provide insight into the challenges awaiting the researcher of hybrid, ceramic-based membranes for OSN.
92 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Multiple Approaches to the Buildup of Asymmetric Polyelectrolyte Multilayer Membranes for Efficient Water Purification | https://pubs.acs.org/doi/10.1021/acsapm.9b01038 | The versatility of polyelectrolyte multilayer (PEM) coatings is very promising for their use as separation layers in nanofiltration applications. These membranes can for example be suited for the removal of micropollutants, such as medicines and pesticides, from water. The selectivity of PEM coatings can be further improved by so-called asymmetric coating. In this approach, the pores of the support membrane are filled with an open PEM layer to maintain a good water permeability, and subsequently a thin, dense layer is coated on top to determine the separation properties. Coating a dense top layer can be achieved in different ways. In this work, we systematically investigate the effectiveness of these different types of top layers. We show that coating a top layer at lower ionic strength than the bottom layer leads to a higher permeability and MgSO4 retention, compared with the reference, bottom-type layer coated with the same total number of layers. Also, other salt retentions can be improved with this approach. However, micropollutant retentions are hardly affected. Coating a top layer with a polyelectrolyte pair that forms denser layers at equal ionic strength, in contrast, leads to a significant change in separation properties with much higher MgSO4 and micropollutant retentions and improved water permeability compared with the reference layer. The concept of membrane optimization via asymmetric coating is thus most effective when using different polyelectrolyte pairs on top of each other. Moreover, we show that this approach allows us to selectively cross-link the top layer for further enhancement of the micropollutant retention, while water permeability is not much reduced. Asymmetric PEM coatings are therefore a promising method to optimize PEM membranes for micropollutant removal and other separation processes.
93 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Asymmetric polyelectrolyte multilayer membranes with ultrathin separation layers for highly efficient micropollutant removal | https://www.sciencedirect.com/science/article/pii/S2352940719305906?via%3Dihub | New membrane materials are urgently needed to address the increasing concentrations of harmful organic micropollutants (e.g. pharmaceuticals, pesticides and plasticizers) in our surface and drinking water. Currently, the densest available membranes can remove micropollutants sufficiently, but only at very low permeabilities and by producing a highly saline, difficult to treat waste stream. We improve permeability 5–10 fold by producing an asymmetric polyelectrolyte multilayer (PEM) on a porous membrane, with a separation layer thickness of only 4 nm. This is achieved by first coating an open multilayer to prevent defects, and subsequently a thin and dense multilayer. This novel membrane shows a very high (98%) retention toward a mix of common micropollutants. Moreover, it only retains 10–15% of NaCl, preventing the formation of a saline waste stream. A detailed literature study shows that the asymmetric PEM membrane, with this unique combination of properties, significantly outperforms commercial membranes for micropollutant removal applications.
94 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Removal of polar organic micropollutants by pilot-scale reverse osmosis drinking water treatment | https://www.sciencedirect.com/science/article/pii/S0043135418307449?via%3Dihub | The robustness of reverse osmosis (RO) against polar organic micropollutants (MPs) was investigated in pilot-scale drinking water treatment. Experiments were carried in hypoxic conditions to treat a raw anaerobic riverbank filtrate spiked with a mixture of thirty model compounds. The chemicals were selected from scientific literature data based on their relevance for the quality of freshwater systems, RO permeate and drinking water. MPs passage and the influence of permeate flux were evaluated with a typical low-pressure RO membrane and quantified by liquid chromatography coupled to high-resolution mass spectrometry. A strong inverse correlation between size and passage of neutral hydrophilic compounds was observed. This correlation was weaker for moderately hydrophobic MPs. Anionic MPs displayed nearly no passage due to electrostatic repulsion with the negatively charged membrane surface, whereas breakthrough of small cationic MPs could be observed. The passage figures observed for the investigated set of MPs ranged from less than 1%–25%. Statistical analysis was performed to evaluate the relationship between physicochemical properties and passage. The effects of permeate flux were more pronounced for small neutral MPs, which displayed a higher passage after a pressure drop.
95 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Robuust |  |  | Membrane Filtration of Anionic Surfactant Stabilized Emulsions: Effect of Ionic Strength on Fouling and Droplet Adhesion | https://www.mdpi.com/2504-5377/3/1/9 | Membranes hold great potential to be used for the successful treatment of oily waste water, but membrane fouling leads to substantial decreases in performance. Here we study the impact of ionic strength on membrane fouling from an emulsion stabilized by the anionic surfactant sodium dodecyl sulfonate (SDS). For this we use a unique combinatorial approach where droplet adhesion to a cellulose surface in a flow cell is compared to membrane fouling (flux decline) on a cellulose membrane. In the initial membrane fouling stages droplet adhesion dominates. While the flow cell demonstrates a high number of droplets adhering especially at high ionic strengths (100 mM NaCl), the strongest flux decline is observed at intermediate (10 mM NaCl) ionic strength. This suggests that the fouling mechanism must be different, with pore blocking expecting to dominate at intermediate ionic strength. At the later fouling stages the porosity of the cake layer plays a key role in the flux reduction. At low ionic strength, oil droplets repel each other strongly and an open, more permeable, cake layer is formed. However at higher ionic strength, a screening of charge interactions leads to a lower porosity and thereby a lower flux. This leads to a clear trend: with a higher ionic strength a higher flux decline is observed. Flux recovery is high at all ionic strengths, in line with the observation in the flow cell that oil droplets can easily be sheared of a cellulose surface at all ionic strengths. This work thus highlights the critical effect of the ionic strength on membrane fouling by anionically stabilized emulsions. Moreover it shows how the use of an optical flow cell can provide key insights to help explain observations in more standard membrane fouling experiments
96 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging |  |  | Anaerobic biodegradation of pharmaceutical compounds coupled to dissimilatory manganese (IV) or iron (III) reduction | https://www.sciencedirect.com/science/article/pii/S0304389418303340?via%3Dihub | Pharmaceuticals in water have adverse effects on aquatic environment. Anaerobic pharmaceutical biodegradation coupled to dissimilatory manganese(Mn) (IV)- or iron(Fe) (III)-oxides reduction is potentially efficient but unexplored. In this study, batch experiments were performed using different Mn(IV) and Fe(III) species with a microbial inoculum pre-cultivated with 15 mM chemically-synthesized Mn(IV) and 10 mg L−1 metoprolol. Results show 26% caffeine and 52% naproxen are degraded with Mn(IV) as terminal electron acceptor and insignificant biodegradation for other pharmaceuticals tested. Reduction of Mn(IV) from drinking water treatment is coupled to anaerobic biodegradation of metoprolol and propranolol, resulting in removal efficiencies of 96% and 31%, respectively. The results indicate that adsorption contributes to the pharmaceutical removal during the first 10 days of incubation, while biodegradation is the main removal mechanism in the whole period. Fe(III) can also be used as electron acceptor in anaerobic pharmaceutical biodegradation. Over half of the added metoprolol is degraded with both chemically-synthesized Fe(III) and Fe(III)-citrate as terminal electron acceptors. However, this process did not occur when using Fe(III) from drinking water treatment or Fe(III)-based sorbents. This study indicates that anaerobic pharmaceutical biodegradation coupled to dissimilatory Mn(IV) or Fe(III) reduction is possible, and promising for application to cleaning wastewater treatment plant effluents.
97 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Microverontreiniging | Waterkwaliteit |  | Biodegradation and adsorption of micropollutants by biological activated carbon from a drinking water production plant | https://www.sciencedirect.com/science/article/pii/S0304389420300145?via%3Dihub | The presence of micropollutants in surface water is a potential threat for the production of high quality and safe drinking water. Adsorption of micropollutants onto granular activated carbon (GAC) in fixed-bed filters is often applied as a polishing step in the production of drinking water. Activated carbon can act as a carrier material for biofilm, hence biodegradation can be an additional removal mechanism for micropollutants in GAC filters. To assess the potential of biofilm to biodegrade micropollutants, it is necessary to distinguish adsorption from biodegradation as a removal mechanism. We performed experiments at 5 °C and 20 °C with biologically active and autoclaved GAC to assess the biodegradation of micropollutants by the biofilm grown on the GAC surface. Ten micropollutants were selected as model compounds. Three of them, iopromide, iopamidol and metformin, were biodegraded by the GAC biofilm. Additionally, we observed that temperature can increase or decrease adsorption, depending on the micropollutant studied. Finally, we compared the adsorption capacity of GAC used for more than 100,000 bed volumes and fresh GAC. We demonstrated that used GAC shows a higher adsorption capacity for guanylurea, metformin and hexamethylenetetramine and only a limited reduction in adsorption capacity for diclofenac and benzotriazole compared to fresh GAC.
98 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Electrochemically mediated calcium phosphate precipitation from phosphonates: Implications on phosphorus recovery from non-orthophosphate | https://www.sciencedirect.com/science/article/pii/S0304389420300145?via%3Dihub | Phosphonates are an important type of phosphorus-containing compounds and have possible eutrophication potential. Therefore, the removal of phosphonates from waste streams is as important as orthophosphate. Herein, we achieved simultaneously removal and recovery of phosphorus from nitrilotris (methylene phosphonic acid) (NTMP) using an electrochemical cell. It was found that the C–N and C–P bonds of NTMP were cleaved at the anode, leading to the formation of orthophosphate and formic acid. Meanwhile, the converted orthophosphate reacted with coexisting calcium ions and precipitated on the cathode as recoverable calcium phosphate solids, due to an electrochemically induced high pH region near the cathode. Electrochemical removal of NTMP (30 mg/L) was more efficient when dosed to effluent of a wastewater treatment plant (89% in 24 h) than dosed to synthetic solutions of 1.0 mM Ca and 50 mM Na2SO4 (43% in 168 h) while applying a current density of 28 A/m2 and using a Pt anode and Ti cathode. The higher removal efficiency of NTMP in real waste water is due to the presence of chloride ions, which resulted in anodic formation of chlorine. This study establishes a one-step approach for simultaneously phosphorus removal and recovery of calcium phosphate from non-orthophosphates.
99 | c/d | 2 |  |  | x |  |  |  | Winnen | Fosfaat |  |  | Electrochemical removal of phosphate in the presence of calcium at low current density: Precipitation or adsorption？ | https://www.sciencedirect.com/science/article/pii/S0043135419309819?via%3Dihub | Phosphorus removal and recovery from waste streams are crucial to prevent eutrophication and sustain fertilizer production. As has been shown in our previous papers, electrochemical treatment has the potential to achieve this goal. However, the adoption of electrochemical approach is limited by its high energy consumption. Here, we investigate the possibility of electrochemical phosphorus removal at extremely low current density using graphite felt as the cathode. We found a current density as low as 0.04 A/m2 can enhance the removal of phosphate in our electrochemical system. The removal of phosphate at extremely low current density resulted from electrochemical induced calcium phosphate precipitation and not by electrochemical adsorption. Electrochemical treatment of real domestic wastewater at 0.2 A/m2 almost eliminates the precipitation of Mg(OH)2 and limits the formation of CaCO3. The recovered precipitates are dominated by calcium phosphate (59%), followed by 35% CaCO3 and 6% Mg(OH)2. The specific energy consumption of this newly electrochemical system is between 4.4 and 26.4 kW h/kg P, which is 2 orders of magnitude lower than our previous system (110–2238 kW h/kg P). Key factors for this improvement prove to be enlarged precipitation area and hydroxide flux retardation by graphite felt. Practically, our study offers a potential way to reduce the energy consumption in electrochemical removal of phosphate by using a graphite felt cathode and at a current density below 0.2 A/m2. Fundamentally, our study contributes to the understanding of adsorption and precipitation in electrochemical removal of phosphate at an extremely low current density and with carbon-based electrodes.
100 | c/d | 2 |  |  | x |  |  |  | Winnen | Ammoniak |  |  | Exploiting Donnan Dialysis to enhance ammonia recovery in an electrochemical system | https://www.sciencedirect.com/science/article/pii/S1385894720311359?via%3Dihub | A hydrogen recycling electrochemical system (HRES) can be used for energy efficient removal of TAN (Total ammonia nitrogen, ammonium and ammonia) from wastewater. When a current is applied, a concentration gradient of cations builds up between catholyte and feed solution. When no current is applied, cations (Na+ and K+) diffuse back to the feed solution from the catholyte as a result of the concentration difference. These cations will be exchanged for other cations (NH4+ and H+) to maintain electroneutrality: a phenomenon known as Donnan Dialysis. In this study, Donnan Dialysis was explored as a strategy to enhance the TAN removal efficiency in an HRES. In continuous operation, Donnan Dialysis did not clearly affect TAN removal efficiency. In batch operation, Donnan Dialysis resulted in (10 ± 2) % higher removal efficiency compared to operation without Donnan Dialysis. By analyzing transport numbers of the different cations, we show that in batch mode, Donnan Dialysis indeed exchanges mostly NH4+ with Na+ and K+. In continuous mode, however, more protons were transported from anode to cathode. Batch operation with Donnan Dialysis achieved similar removal to continuous operation but consumed less energy (between 7.8 kJ gN−1 and 10.1 kJ gN−1) than continuous operation. Donnan Dialysis can be a good strategy to enhance TAN recovery in batch operation mode since additional ammonium was removed at a lower energy input.
101 | c/d | 2 |  |  | x |  | Optimalisatie |  |  | Natuurlijk systeem | Microverontreiniging |  | Retention soil filters for the treatment of sewage treatment plant effluent and combined sewer overflow | https://www.sciencedirect.com/science/article/pii/S0048969719344171?via%3Dihub | Retention soil filters (RSFs) are vertical flow constructed wetlands. They are mainly used for the treatment of combined sewer overflow or stormwater, and not operated during dry weather conditions. However, RSFs have been successfully tested as continuous post treatment for sewage treatment plant effluents. In this paper we present a new approach, namely dual usage of the retention soil filter. During dry weather the RSF is used for the polishing treatment of sewage treatment plant effluent and during overflow events, the retention soil filter treats the combined sewer overflow. This study was conducted at two pilot RSFs that were fed with sewage treatment effluent for four years. Removal of TOC, DOC, nutrients and 21 organic micropollutants was determined during six months at different sequences of regular effluent and overflow treatment conditions. TOC, DOC and nutrients, appearing in high concentration in combined sewer overflow, were effectively removed, and metformin and caffeine micropollutants showed >99% removal. Residues from this combined sewer treatment that were sorbed on filter material or stored in pore water were washed out directly after treatment when STP effluent infiltration was initiated. This effect declined within 20 h after combined sewer overflow treatment. Dry periods of 18 h between combined sewer and sewage treatment plant effluent feeding counteracted the wash out effects. The highest removal efficiency was found in the beginning of the feeding time of 28 h, indicating that shorter feeding cycles enhance the overall efficiency of the RSF. Finally, the results show that a single RSF system can successfully reduce emissions of TOC, DOC, nutrients and micropollutants to surface waters from two different emission pathways, i.e. from regular treated effluents and storm related sewer overflows. In conclusion, the dual usage of RSF is a promising approach and ready for upscaling and implementation.
102 | c/d | 2 |  |  |  | x | Optimalisatie |  | Winnen | Algen | Stikstof |  | Optimization of algae production on urine | https://www.sciencedirect.com/science/article/pii/S2211926419301948?via%3Dihub | Urine is a potential source of nutrients to grow microalgal biomass to be re-used as fertilizer and soil conditioner. In this study the impact of photobioreactor dilution rate on microalgae productivity and photosynthetic efficiency was assessed and used to determine operating conditions to reach both full nitrogen removal from urine and high biomass productivity. In addition, the possibility to work under day/night cycling was tested. To this end, the microalga Chlorella sorokiniana was grown on artificial urine and real human urine in bench-scale panel photobioreactors with short optical paths. At a light intensity of 1530 μmol⋅ m−2⋅s-1 photobioreactor productivity and photosynthetic efficiency was demonstrated to be maximal at reactor dilution rates between 0.10 and 0.15 h-1. A biomass yield of 1 g dry matter per mol of PAR photons was achieved. Biomass concentration, and accordingly nutrient removal efficiency, decreased at increasing reactor dilution rate. The experimental results could be reproduced by model simulations. These simulations allowed to demonstrate that the system must be operated at a dilution rate of less than 0.01 h-1 in order to reach complete nitrogen removal. In that scenario more than half of the potential biomass productivity is lost due to severe self-shading within the algal culture. Experiments with real human urine illustrated the problem of incomplete nitrogen removal and ammonium inhibition of growth at too high dilution rates. It is therefore suggested to apply an optimized pre-dilution of pure urine prior to treatment in a photobioreactor. Experiments under day-night cycles demonstrated that microalgal cultures quickly acclimate to such variable light conditions. Additional model simulations illustrated that a phototrophic system is most effective when diluted urine is fed to the photobioreactor during day time only. In that situation the lowest nitrogen concentration in the effluent can be reached at a maximal areal removal rate and photosynthetic efficiency.
103 | c/d | 2 |  |  | x |  | Optimalisatie |  | Winnen | Algen | Natuurlijk systeem |  | Impact of hydraulic retention time on community assembly and function of photogranules for wastewater treatment | https://www.sciencedirect.com/science/article/pii/S0043135420300427?via%3Dihub | Photogranules are dense, spherical agglomerates of cyanobacteria, microalgae and non-phototrophic microorganisms that have considerable advantages in terms of harvesting and nutrient removal rates for light driven wastewater treatment processes. This ecosystem is poorly understood in terms of the microbial community structure and the response of the community to changing abiotic conditions. To get a better understanding, we investigated the effect of hydraulic retention time (HRT) on photogranule formation and community assembly over a period of 148 days. Three laboratory bioreactors were inoculated with field samples from various locations in the Netherlands and operated in sequencing batch mode. The bioreactors were operated at four different HRTs (2.00, 1.00, 0.67, 0.33 days), while retaining the same solid retention time of 7 days. A microbial community with excellent settling characteristics (95–99% separation efficiency) was established within 2–5 weeks. The observed nutrient uptake rates ranged from 24 to 90 mgN L−1 day−1 and from 3.1 to 5.4 mgP L−1 day−1 depending on the applied HRT. The transition from single-cell suspension culture to floccular agglomeration to granular sludge was monitored by microscopy and 16S/18S sequencing. In particular, two important variables for driving aggregation and granulation, and for the structural integrity of photogranules were identified: 1. Extracellular polymeric substances (EPS) with high protein to polysaccharide ratio and 2. specific microorganisms. The key players were found to be the cyanobacteria Limnothrix and Cephalothrix, the colony forming photosynthetic eukaryotes within Chlamydomonadaceae, and the biofilm producing bacteria Zoogloea and Thauera. Knowing the makeup of the microbial community and the operational conditions influencing granulation and bioreactor function is crucial for successful operation of photogranular systems.
104 | c/d | 2 |  |  | x |  |  |  | Winnen | Algen | Nutriënten |  | Closing Domestic Nutrient Cycles Using Microalgae | https://pubs.acs.org/doi/abs/10.1021/acs.est.5b02858?casa_token=KtH3WHB6PhQAAAAA:fUJs1wZDFycBGGnrHMuq2CZM5QaDPMm8nUnr0c3FM3ROQHxI20i-nYJS2BEE6aYiWnYzYM9G7DqQZ0Gu | This study demonstrates that microalgae can eﬀectively recover all P and N from anaerobically treated black water (toilet wastewater). Thus, enabling the removal of nutrients from the black water and the generation of a valuable algae product in one step. Screening experiments with green microalgae and cyanobacteria showed that all tested green microalgae species successfully grew on anaerobically treated black water. In a subsequent controlled experiment in ﬂat-panel photobioreactors, Chlorella sorokiniana was able to remove 100% of the phosphorus and nitrogen from the medium. Phosphorus was depleted within 4 days while nitrogen took 12 days to reach depletion. The phosphorus and nitrogen removal rates during the initial linear growth phase were 17 and 122 mg·L−1·d−1, respectively. After this initial phase, the phosphorus was depleted. The nitrogen removal rate continued to decrease in the second phase, resulting in an overall removal rate of 80 mg·L−1·d−1. The biomass concentration at the end of the experiment was 11.5 g·L−1, with a P content of approximately 1% and a N content of 7.6%. This high algal biomass concentration, together with a relatively short P recovery time, is a promising ﬁnding for future post-treatment of black water while gaining valuable algal biomass for further application.
105 | c/d | 2 |  |  | x | x | Optimalisatie |  |  | Microverontreiniging | Algen | Nutriënten | Micropollutant removal in an algal treatment system fed with source separated wastewater streams | https://www.sciencedirect.com/science/article/pii/S0304389415301485?casa_token=4Ni5i_OEz-cAAAAA:hUGrh0CBdWfYUtRBiODwn3v3E3r2oqs2vl0YBVN1-Oz4nfUziTCL4uLZaPEpUNuK97kLS4h3lIo | Micropollutant removal in an algal treatment system fed with source separated wastewater streams was studied. Batch experiments with the microalgae Chlorella sorokiniana grown on urine, anaerobically treated black water and synthetic urine were performed to assess the removal of six spiked pharmaceuticals (diclofenac, ibuprofen, paracetamol, metoprolol, carbamazepine and trimethoprim). Additionally, incorporation of these pharmaceuticals and three estrogens (estrone, 17β-estradiol and ethinylestradiol) into algal biomass was studied. Biodegradation and photolysis led to 60–100% removal of diclofenac, ibuprofen, paracetamol and metoprolol. Removal of carbamazepine and trimethoprim was incomplete and did not exceed 30% and 60%, respectively. Sorption to algal biomass accounted for less than 20% of the micropollutant removal. Furthermore, the presence of micropollutants did not inhibit C. sorokiniana growth at applied concentrations. Algal treatment systems allow simultaneous removal of micropollutants and recovery of nutrients from source separated wastewater. Nutrient rich algal biomass can be harvested and applied as fertilizer in agriculture, as lower input of micropollutants to soil is achieved when algal biomass is applied as fertilizer instead of urine.
106 | c/d | 2 |  | x |  | x |  |  | Winnen | Warmte | Water |  | Riothermie in 3 gemeenten laat energiebesparing en CO2-reductie zien | google riothermie technieken dan vind je dit pdf | De warmte van rioolwater hergebruiken kan een interessante optie zijn om gebouwen in de nabijheid van de riolering te verwarmen. In Nederland zijn inmiddels al meerdere riothermiesystemen aan het draaien, namelijk negen. Onder andere een school in de gemeente IJmuiden, een zwembad in de gemeente Urk en een zwembad in de gemeente Wezep worden voorzien van duurzame warmte opgewekt met riothermie. In dit artikel worden de monitoringsresultaten van deze projecten gepresenteerd. Belangrijkste conclusie uit het eerste jaar is dat het systeem meer energiebesparing en CO2-reductie realiseert dan tijdens het ontwerp verwacht.
107 | d | 3 |  |  | x |  |  |  | Winnen | Water | Energie | Nutriënten | HYDROUSA | https://www.hydrousa.org/ | Upflow anaerobic sludge blanket (UASB) + constructed wetlands + UV disinfection
108 | d | 3 |  |  | x |  |  |  | Winnen | Water | Energie | Nutriënten | HOUSEFUL | https://houseful.eu/ | Combination with shred kitchen waste, liquid-solid separation, green walls, anaerobic membrane bioreactor (AnMBR), UV hygienisation
109 | d | 3 |  |  | x |  |  |  | Winnen | Water | Energie | Nutriënten | GreenT (Slovenian Research Agency J2 − 8162 and Z2 − 6751) | http://www2.zf.uni-lj.si/si/component/content/article/32-raziskovanje-splosno/2489-zapiranje-snovnih-poti-pri-ciscenju-komunalnih-odpadnih-voda-z-zelenimi-tehnologijami-j2-8162 | Hybrid constructed wetland, evapotranspirative willow system with zero discharge, algae-based technology
110 | d | 1.2 |  |  | x |  |  |  | Winnen | Nutriënten |  |  | INCOVER | https://incover-project.eu/technologies/nutrient-recovery | Adsorption columns and planted filters
111 | d | 2 |  |  | x |  |  |  | Winnen | Biopolymeren |  |  | INCOVER | https://incover-project.eu/technologies | Two-stage anaerobic-photosynthetic High Rate Algae Pond system
112 | c/d | 2 |  |  | x |  |  |  | Winnen | Biopolymeren |  |  | SMART-Plant | http://www.smart-plant.eu/ | Two sequencing batch reactors (SBR): one for heterotrophic bacterial growth and the other for growth of autotrophic nitrifiers
113 | d | 2.3 |  |  |  | x |  |  | Winnen | Biopolymeren |  |  | Phario | http://phario.eu/ | Mixed microbial cultures, activated sludge at WWTP, bioprocess facilitating feast and famine conditions, biomass is fed with VFA-rich liquors, pure acetic and propionic acids
114 | c/d | 2 |  |  | x |  |  |  | Winnen | Biopolymeren |  |  | National Alginate Research Programme | https://www.royalhaskoningdhv.com/en-gb/news-room/news/water-authorities-working-hard-to-achieve-circular-economy/7123 | Alginate extraction from granular excess sludge from 3 municipal Nereda®-plants and one industrial one
115 | c/d | 3 |  |  |  | x |  |  | Winnen | Biopolymeren |  |  | KAUMERA | https://kaumera.com/english/ | Alginate extraction from Nereda®-granular excess sludge
116 | d | 1.2 |  |  | x |  |  |  | Winnen | Lipide |  |  | WOW | https://www.cell-vation.com/wow-project | Two-stage aerobic/anaerobic reactor, M. parvicella bacterium accumulates FOG (fat, oil, grease), lipids extraction, subsequent esterification/transesterification
117 | c/d | 3 |  |  | x |  |  |  | Winnen | Energie | Nutriënten |  | SMART-Plant | http://www.smart-plant.eu/ | Anaerobic biofilter for municipal wastewater treatment
118 | d | 3 |  |  | x |  |  |  | Winnen | Energie | Nutriënten |  | Pioneer-STP | https://www.kt.dtu.dk/english/research/prosys/projects/pioneer-stp | UASB for municipal wastewater
119 | d | 3 | x |  | x |  |  |  | Winnen | Energie | Nutriënten |  | Hamburg Water Cycle, Jenfelder Au | https://www.hamburgwatercycle.de/en/the-jenfelder-au-neighbourhood/the-hwc-in-the-jenfelder-au/ | Vacuum toilets and collection, AD, Fixed bed reactor, heat exchange, district heatin
120 | d | 2 |  |  | x |  |  |  | Winnen | Energie |  |  | URBAN GreenUP | https://www.urbangreenup.eu/ | Horizontal subsurface CW with electrodes; oxidation of the organic matter generates electricity
121 | d | 2 |  |  | x |  |  | Besparen | Winnen | Energie |  |  | MIDES | http://midesh2020.eu/ | Microbial desalination combined with membrane treatment
122 | c/d | 2 |  |  |  | x |  |  | Winnen | Nutriënten |  |  | DEEP PURPLE | https://deep-purple.eu/ | Microbial conversion of nutrients to high-value compounds in a biorefinery approach
123 | d | 3 | x |  | x |  |  |  | Winnen | Water | Energie | Nutriënten | Lemmerweg and Noorderhoek RUN4LIFE | http://run4life-project.eu/ | Vacuum collection, AD, OLAND, struvite precipitation, AD, heat exchange, district heating
124 | d | 3 | x |  | x |  |  |  | Winnen | Water | Energie | Nutriënten | De Nieuwe Dokken RUN4LIFE | http://run4life-project.eu/ | Vacuum toilets and collection, AD, struvite precipitation, AD in a membrane bioreactor, RO, heat exchange, district heating
125 | d | 3 | x |  | x |  |  |  | Winnen | Water | Energie | Nutriënten | Rijkskantoor, Rijnstraat, NL | https://www.saniwijzer.nl/projecten/rijkskantoor-rijnstraat-8/detail=94 | Water-free urinals, vacuum toilets, AD, struvite precipitation
126 | d | 3 | x |  |  | x |  |  | Winnen | Nutriënten |  |  | Urine dehydration technology for sanitation 2.0. Sanitation 360 | https://www.slu.se/en/departments/energy-technology/projects/kretslopp/productive-on-site-sanitation-system/ | Inside-the-toilet urine drying after chemical stabilisation
127 | d | 3 | x |  | x |  |  | Besparen | Winnen | Nutriënten | Water |  | VUNA – Nutrient Recovery from Urine | https://www.eawag.ch/en/department/eng/projects/vuna/ | Water-free urinals, NoMix toilets, nitrification, activated carbon, distillation
128 | d | 3 | x |  | x | x |  | Besparen | Winnen | Nutriënten | Water |  | Cooperative Equilibre @ Cressy | https://www.cooperative-equilibre.ch/projets/cressy/historique-de-limmeuble-de-cressy/ | Constructed wetland for greywater treatment; waterless dry toilets, composting and vermicomposting
129 | d | 3 |  |  |  | x |  |  | Winnen | Water | Nutriënten |  | EdiCitNet | https://cordis.europa.eu/project/rcn/216082/factsheet/en | Green walls, vertical facade farming, vegetarian roof restaurants, aquaponics
130 | d | 3 | x |  |  | x |  |  | Winnen | Nutriënten |  |  | Centralised BW treatment for >10 households | https://pdfs.semanticscholar.org/f5dd/ccffa28be4ab5180eaaaf3a1b168586a00d6.pdf | Separate BW collection, centralised treatment with either ammonia sanitisation or AD with urea addition
131 | d | 1 |  |  | x | x | Optimalisatie |  | Winnen | Microverontreiniging | Multifunctionaliteit |  | Aquafarm | https://www.aquafarm.nl/ | Eén van de grootste maatschappelijke opgaven op dit moment is slimmer omgaan met grondstoffen en water, om ook in de toekomst voldoende kwalitatieve voedingsstoffen te kunnen produceren. Doorbraken ontstaan door anders naar hetzelfde te kijken. Zo is ook Aquafarm ontstaan. Aquafarm ziet de rijke stroom afvalwater als basis voor het produceren van hoogwaardige bouwstoffen. Want: waarom waardevolle grondstoffen uit het water verwijderen, als je deze ook kunt gebruiken om direct tot hoogwaardigere toepassingen te komen, met als eindproduct schoon water? Met Aquafarm zoeken we naar een nieuwe manier van afvalwater zuiveren. Met een geschakelde inzet van flora en fauna wordt het afvalwater zuiverder, willen we gifstoffen (zoals medicijnresten) verwijderen, én produceren we hoogwaardige stoffen.
132 | d | 2 |  |  |  | x |  | Besparen |  | Water |  |  | Ultrasoon wassen | https://www.gadgetgear.nl/2015/01/dolfi-wast-kleding-met-ultrasoon-geluid/; https://nl.techinfus.com/dlya-chistoty-i-poryadka/stiralnaya-mashina/ultrazvukovaya.html | Dit apparaat bestaat uit een voeding, een vrij lange draad en ergonomisch plastic behuizingniet groter dan een kinderpalm.Geen onnodige onderdelen, grote items, tanks en zelfs trommelzoals een huishoudelijk apparaat dat iedereen gewend is, ze heeft het niet. In de beschermhoes bevindt zich een kleine printplaat. Zijn hoofdfunctie is het genereren van een ultrasoon signaal, met een frequentie van niet hoger dan 22-30 kilohertz, dat fungeert als een vernietiger van vervuiling.
133 | d | 2 |  |  | x |  |  | Besparen |  | Energie | Multifunctionaliteit |  | Organica | https://www.stowa.nl/publicaties/verkenning-zuiverende-kassen | Communaal afvalwater wordt gezuiverd in kassen. In de kassen zorgen planten, die met hun wortels in het water hangen, samen met de aan de wortels gehechte bacteriën en andere micro-organismen voor een efficiënte zuivering. Volgens de bedenker en fabrikant van dit systeem, Organica uit Hongarije, heeft een zuiverende kas vele voordelen ten opzichte van een conventionele rwzi. Het systeem zou energiezuiniger en efficiënter zijn en bovendien minder plaats innemen dan een conventionele rwzi.
134 | d | 3 |  |  | x |  | Optimalisatie |  |  | Natuurlijk systeem |  |  | Phytocube | https://rietland.com/geen-plaats-helofytenfilter | mini helofytenfilter voor huishoudens/ 5-6 personen
135 | d | 3 |  |  | x |  | Optimalisatie |  |  | Natuurlijk systeem | Multifunctionaliteit |  | phytoparking | https://rietland.com/publicaties/innovatie-rietland-phytoparking-aquarama | Combinatie van natuurlijke afvalwater zuivering met parkeerplaatsen
136 | d | 3 |  |  |  | x |  | Besparen |  | Water |  |  | Droog wassen/ air washing | https://www.samsung.com/in/support/home-appliances/what-is-air-wash-function-in-a-samsung-washing-machine/ | Samsung AirWash system removes unpleasant smells, microscopic allergens, harmful bacteria and microbes , It removes unpleasant smells, microscopic allergens, harmful bacteria and microbes with blown hot air. Not only will you not need detergent or chemicals to wash, you can reduce the frequency of sending your clothes for dry cleaning. Clothing that can be refreshed includes woollen coats, cotton jumpers, sweaters and suits.
137 | d | 3 |  |  |  | x |  | Besparen |  | Energie |  |  | Douchewarmtewisselaar | https://www.milieucentraal.nl/energie-besparen/energiezuinig-huis/energiezuinig-verwarmen-en-warm-water/douche-wtw/ | Met een douche-wtw gebruik je de warmte van het wegstromende douchewater om het koude douchewater alvast op te warmen. Daardoor verbruikt je cv-ketel minder gas. De warmtewisselaar komt in de afvoerpijp, douchebak of vloer van je inloopdouche. Om hem in te bouwen is een kleine verbouwing nodig.
138 | d | 3 |  |  |  | x |  | Besparen |  | Energie | Water |  | Recirculatiedouche | https://xenz.nl/Inspiratie/Upfall-Shower/ | De stap naar energieneutraal bouwen is gezet. Sinds 1 juli 2018 is gasloos bouwen verplicht. Xenz speelt in op deze vraag naar duurzame oplossingen. De Upfall Shower is een spaardouche waarbij je een comfortabele en krachtige waterval van meer dan 30 liter per minuut over je heen krijgt, met een verbruik van maar slechts 1,5 liter water per minuut. Een flinke besparing! Dankzij het unieke Upcycle systeem wordt het douchewater opgevangen, gefilterd, ververst, verwarmd en dan opnieuw weer rondgepompt. Urenlang douchen zonder schuldgevoel!
139 | d | 2 |  |  | x | x |  |  | Winnen | Nutriënten | Water |  | From Pee to Tea | https://www.nutrientplatform.org/from-pee-to-tea/ | Tijdens het proces wordt urine gekookt waarbij water verdampt, en wanneer de waterdamp afkoelt ontstaat er condens. Na het proces blijft negentig procent schoon drinkwater over en tien procent meststoffen. De meststoffen worden gebruikt om munt te groeien, waarmee heerlijke muntthee wordt gezet.
140 | d | 3 | x |  |  |  |  | Besparen |  | Water |  |  | verbrandingstoilet | https://ecosave.com/shop/droogtoilet/verbrandingstoilet-cindi-family/ | Het is een droogtoilet, geen chemie, maar een elektrisch verhittings element (net als een broodrooster) zorgt dat vocht verdampt en poep en papier helemaal tot AS worden verhit.
141 | c/d | 3 |  | x |  |  |  | Besparen |  | Water |  |  | luchtpersriool | https://www.saniwijzer.nl/technieken/transport-afvalwater/mechanische-riolen/luchtpersriolen | Bij een luchtpersriool wordt het afvalwater met bellen lucht door de leidingen geperst. Iedere aansluiting (van een woning of woningcluster) is voorzien van een pomp.
142 | c/d | 3 |  | x |  |  |  | Besparen |  | Water |  |  | vacuumriool | https://www.saniwijzer.nl/technieken/transport-afvalwater/mechanische-riolen/vacuumriolen | Afvalwater wordt door middel van onderdruk (vacuüm) door een dunne leiding afgezogen naar een centraal inzamelpunt. Vandaar wordt het onder vrij verval, met een pomp of per tankauto afgevoerd naar de rioolwaterzuiveringsinstallatie. Het vacuümriool voert alleen huishoudelijk afvalwater af. Voor de afvoer van hemelwater is de capaciteit te klein.
143 | d | 2 |  |  |  | x |  | Besparen | Winnen | Water |  |  | A dimensionless approach for the urban-scale evaluation of domestic rainwater harvesting systems for toilet flushing and garden irrigation | https://iahr.tandfonline.com/doi/full/10.1080/1573062X.2017.1279192?casa_token=XyuyrX3fpmIAAAAA%3A4CzdLTiCanPyMhAFN1n_36HZQQBOZQWO1ZGzTUf9bt6zyOLOlQM623dSwDQf2qbkK53GwhWbFyiHPw | A dimensionless methodology to evaluate the water saving obtainable from large-scale implementation of domestic rain water harvesting (RWH) systems in urban areas is presented. The methodology combines the use of regressive relationships for water saving evaluation based on the results of the dimensionless rainwater tank water balance and of catchment-wide information obtained from geospatial databases. The adopted RWH scheme included internal use of rainwater for toilet flushing and external use for garden irrigation. An application to a portion of the city of Rome, Italy showed the methodology to allow systematic and accurate evaluation of RWH system performance at the selected urban scale. Results pointed out high water saving potential for toilet flushing ranging between 38–65% for tank sizes within 1–50 m3. Furthermore, more than one third of the systems provided water saving benefit for irrigation larger than 20% by using a 50 m3 tank.
144 | d | 2 |  |  |  | x |  | Besparen |  | Water |  |  | Sustainable water supply: Potential of recycling laundry wastewater for domestic use | https://www.semanticscholar.org/paper/Sustainable-water-supply%3A-Potential-of-recycling-Lade-Gbagba/72d1dc9fda5e4f3af1e8dd414e35122a0b6fa74c | To reduce the consumption of freshwater in the laundry industry, a new trend of separating waste water has resulted in the reuse/recycling of water. In this study, the characteristics of domestic laundry wastewater was evaluated using wastewater samples from four selected laundries. The samples were analysed for the physicochemical and bacteriological characteristics of the water. The parameters examined were: pH, temperature, conductivity, TDS, TSS, turbidity, colour, total hardness, BOD, COD, DO, phosphate, nitrate, chloride and sulphate. The pH of the wastewater ranges from 8.8 – 9.0, TDS ranges from 229 mg/L to 461mg/L, TSS ranges from 228.9–460 mg/L, Turbidity ranges from 25.3– 39.4 NTU and the colour ranges from 4.2-5.8 TCU. The BOD ranges from 144– 211.2 mg/L and the COD ranges from 428.6-531.3 mg/L. The Total Coliform and E.coli in the wastewater ranges from 140-700 CFU. The pH, TDS, colour, total hardness, total coliform and E.coli are within permissible level for toilet and laundry water reuse while TSS, turbidity, BOD and COD exceeds the limit. The result of this study reveals that there is a high potential of recycling laundry waste water for reuse in toilet, irrigation and laundry with little treatment